## Slide 1: ENEC MARK: SAFETY AT FIRST SIGHT
HORTICULTURAL LUMINAIRES WITH LEDS
HIGH QUALITY EUROPEAN MARK
TO GUARANTEE SAFETY AND COMPLIANCE WITH REGULATORY REQUIREMENTS,
OFFERING ADVANTAGES IN TERMS OF RELIABILITY, INTERNATIONAL RECOGNITION & COMPETITIVE EDGE FOR THE BUSINESS
ENEC MARK IS SYNONYM OF RELIABILITY, SAFETY AND PRODUCTION
SURVEILLANCE
THE ENEC MARK GUARANTEES COMPLIANCE WITH THE LATEST SAFETY STANDARDS, CERTIFIED BY AN THIRD-PARTY BODY
THE MOST KNOWN HIGH QUALITY EUROPEAN MARK IN THE LIGHTING INDUSTRY
OUR LUMINAIRE STANDARD FOCUSES EXCLUSIVELY ON LUMINAIRES WITH VISIBLE LIGHT SOURCES
WITH HORTICULTURAL LIGHTING STANDARDS NOT ANTICIPATED FOR THE NEXT 3-4 YEARS, OUR ENEC REQUIREMENT SHEET PROVIDES A CRUCIAL SOLUTION.
CERTIFIED PRODUCTS PROVIDE MORE CONFIDENCE TOWARDS LOCAL/NATIONAL AUTHORITIES
ENEC MARK IS THE SOLUTION FOR THE CERTIFICATION OF HORTICULTURAL LUMINAIRES

## Slide 2: OVERVIEW
PRODUCTS
ENEC mark can be issued to: horticultural luminaires with LEDs which do not emit light above the limits of Risk Group 0 for the following hazards:
•Actinic Ultraviolet Hazard
•Near-UV Hazard
•Retinal Thermal Hazard
•Retinal thermal, weak visual stimulus (if applicable accor- ding to 4.3.6 of EN 62471:2008)
•Infrared Radiation Hazard for the eye
CERTIFICATION PROCESS
Approval of the manufacturer (production site inspection).
Approval of individual product models (type testing on representative sample for the series production).
Certification (granting the license to use the ENEC mark on the products).
Control of production (yearly supervision of manufacturing location and manufactured products).
TESTING
The type tests can be performed in the:
laboratories of the ENEC members
laboratories of manufactu-
rers*
*For testing in manufacturer laboratories, there are three processes in place:
E-CTF1 - testing by the ENEC engineer at the manufacturer’s premises
E-CTF2 - testing by the manufacturer’s personnel, witnessed by the ENEC engineer
E-CTF3 - testing by the manufacturer’s personnel – supervised and partly witnessed by the ENEC engineer.
ADVANTAGES
competitive edge
guarantee of reliability and standard compliance
production quality monitoring
mitigating the risks of hazards.
MORE CERTIFIED PRODUCTS FOR A SAFER MARKET
XX
ETICS, the European Testing, Inspection and Certification System | Rue des Deux Églises, 29 - 1000 BRUSSELS – E-mail : secretariat@etics.org
- www.enec.com
- www.xxxxxxx